## PatternMode
| Dark Room |  | Cold Cathode |  | Pattern Sequence
| Amp | Freq | Amp | Freq | Amp |  |  |  | Video mode
Color |  |  |  |  | Green | Red | Blue | White | Green | Red | Blue | White

## raw
No Power Supply | [6 empty] | 4225 | Hz | = | 236.6864 | ms
19:40 | 05.12.17 | Dark outside but still light is coming through the window |  |  |  |  | 60 | Hz | = | 16666.6667 | ms
[7 empty] | 120 | Hz | = | 8333.3333 | ms
Dark Room, pressed down, covered with hand | [6 empty] | 1 | Hz | = | 1000000 | ms
Vpp | 50-80mV | meist 70mV |  |  |  |  | 1 | Hz | = | 1000000 | ms
dt | 179 | s | 9 | Peroids | 0.050279 | Hz
Vdc | 1.2mV bis -0.4mV
[7 empty] | 16 | ms | = | 62.5 | Hz
Dark Room, held in air, covered with hand | [6 empty] | 17 | ms | = | 58.8235 | Hz
Vpp | 30mV | +-15mV |  |  |  |  | 1.5 | ms | = | 666.6667 | Hz
dt | 179 | s | 9 | Peroids | 0.050279 | Hz | 1 | ms | = | 1000 | Hz
Vdc | 0V | +-0.4mV |  |  |  |  | 1 | ms | = | 1000 | Hz
[7 empty] | 1 | ms | = | 1000 | Hz
Direct Brigth light HTC one
Vpp | 7mV | +-3mV
dt | >>20ms |  |  |  | 0 | Hz
Vdc | -350mv
DLP
G: 54, R:70, B: 68, Patternmode, White Light, 235us, 1 Patterm, clear DMD, G0
Pattern to Pattern |  | 16.5ms
Spike decay |  | 1.55ms